## Website Publication Table
List of recommended SARS-CoV-2 antibody and antigen tests
Latest update: 02/11/2020
Validated antibody tests
Manufacturer | Test | Type | Target | Validation link | Qualitative Semi-quantitative Quantitative
AAZ-LMB | COVID-19 IgG/IgM Rapid Test (Whole Blood/Serum/Plasma) – Cassette | Rapid |  | to be published | qualitative
Abbott | Panbio IgG/IgM Covid-19 rapid test | Rapid |  | to be published | qualitative
Avioq | Novel Coronavirus (2019-nCoV) Antibody IgG/IgM Assay (Colloidal Gold) | Rapid |  | Publication | qualitative
BMT Bio marketing | Lab on Time 2019-nCoV IgG/IgM rapid test cassette | Rapid |  | Publication | qualitative
Dynamiker Biotechnology (Tianjin) | 2019 nCOV IgG/IgM Rapid Test | Rapid | NCP | Publication | qualitative
Liming Bio | StrongStep SARS-CoV-2 lgM/lgG Antibody Rapid Test | Rapid |  | Publication | qualitative
Surescreen | COVID-19 IgG/IgM Rapid Test Cassette | Rapid |  | Publication | qualitative
VivaChek | VivaDiag SARS-CoV-2 IgM/IgG Rapid Test | Rapid |  | Publication | qualitative
Xiamen Boson Biotech | RAPID 2019-NCOV IGG/IGM COMBO TEST CARD | Rapid | NCP | Report | qualitative
Zentech | quickZen COVID-19 IgM/IgG rapid test | Rapid | RBD | Publication | qualitative
Abbott | SARS-CoV-2 IgG Assay (Alinity, Architect) | CMIA | NCP | to be published | semi-quantitative
| SARS-CoV-2 IgM Assay (Alinity, Architect) | CMIA |  | Report | semi-quantitative
Beckman-Coulter | Access SARS-CoV-2 IgG | CLIA | RBD | Report | semi-quantitative
Beijing Wantai Biological Pharmacy Enterprise | WANTAI SARS-CoV-2 Ab ELISA | ELISA | RBD | to be published
bioMérieux | VIDAS SARS-CoV-2 IgG | ELFA |  | Report | semi-quantitative
| VIDAS SARS-CoV-2 IgM | ELFA |  | Report | semi-quantitative
Bio-Rad | Platelia SARS-CoV-2 Total Ab Assay | ELISA | NCP | Publication | semi-quantitative
Diasorin | LIAISON SARS-CoV-2 S1/S2 IgG test | CLIA | S1/S2 | Publication | quantitative
Euroimmun | Anti-SARS-CoV-2 ELISA IgG | ELISA | S1 | Publication 1 | semi-quantitative
Publication 2
ID.Vet | ID Screen SARS-CoV-2-N IgG Indirect | ELISA | NCP | to be published | semi-quantitative
Mikrogen Diagnostik | recomWell SARS-CoV-2 IgG | ELISA | NCP | to be published | quantitative
NovaTec Immundiagnostica | NovaLisa SARS-CoV-2 (COVID-19) IgG | ELISA | NCP | Publication | semi-quantitative
Ortho Clinical Diagnostics | VITROS Anti-SARS-COV-2 IgG | CLIA | S | to be published | semi-quantitative
| VITROS Anti-SARS-CoV-2 Total | CLIA | S1 | to be published | semi-quantitative
Roche | Elecsys Anti-SARS-CoV-2 | ECLIA | NCP | Publication | qualitative
Shenzhen YHLO Biotech | iFlash-SARS-CoV-2 IgG | CLIA |  | Report
Siemens | SARS-CoV-2 Total (COV2T) (Advia Centaur, Atellica Solution, Dimension Vista) | CLIA | RBD | to be published
Snibe | MAGLUMI SARS-CoV-2 IgM/IgG Test | CLIA |  | Publication | quantitative
Vircell | COVID‐19 ELISA IgG | ELISA | S, NCP | Report | semi-quantitative
Antigen tests with sensitivity ≥ 90% AND specificity ≥ 99% as claimed in the IFU.
Manufacturer | Test | Sensitivity | Specificity | Specimen type
Abbott | PANBIO COVID-19 Ag rapid test device | 93.3 | 99.4 | NP swab
AMEDA Labordiagnostik | AMP Rapid Test SARS-CoV-2 Ag | 97.3 | 100 | NP swab
Biosynex | BIOSYNEX COVID-19 Ag BSS | 96 | 100 | NP swab
Biotical Health | SARS-CoV-2 Ag CARD | 92.9 | 99.6 | NP swab
DiaSorin | LIAISON SARS-CoV-2 Ag | 97,1/94,6 | 100/99,5 | Nasal swab/NP swab
Hangzhou Alltest Biotech | Covid-19 Antigen Test | 90.4 | 99.5 | NP swab
nal von minden | NADAL COVID-19 Ag Rapid Test | 97.56 | 99.9 | OP swab/NP swab
Ortho-Clinical Diagnostics | VITROS SARS-CoV-2 Antigen test | 97.8 | 99.2 | NP swab
SD Biosensor/Roche | SARS-CoV-2 Rapid Antigen Test | 96.52 | 99.68 | NP swab
Siemens | CLINITEST Rapid COVID-19 Antigen Test | 96.72 | 99.22 | NP swab
Surescreen | COVID-19 Coronavirus Rapid Antigen Test Cassette | 93.3 | 100 | OP swab/NP swab
Zhejiang Orient Gene Biotech | Coronavirus Ag Rapid Test Cassette (Swab) | 96.3 | 99.06 | NP swab
Abbreviations
CLIA | Chemiluminescent Immunoassay
CMIA | Chemiluminescent Microparticle Immunoassay
ECLIA | Electrochemiluminescence Immunoassay
ELFA | Enzyme-linked Fluorescent Assay
ELISA | Enzyme-linked Immunosorbent Assay
NCP | Nucleocapsid Protein
NP | Nasopharyngeal
OP | Oropharyngeal
RBD | Receptor-binding Domain
S | Spike Protein
S1 & S2 | Spike Protein subunit 1&2